## CM200 User Evaluation
Trainee:
Date:
Status:
Other info:
Category | Exam Item | Impact | Weight
SAMPLE
| Grid loading on specimen holder | High | 3 | 3 | 1
| Holder loading into column | High | 3 | 3 | 1
| Holder unloading from column | High | 3 | 3 | 1
| Grid unloading from specimen holder | High | 3 | 3 | 1
VACUUM
| Vacuum state | High | 3 | 3 | 1
| Gauges | High | 3 | 3 | 1
| Camera | High | 3 | 3 | 1
| FEG | High | 3 | 3 | 1
| Cryo-cycle | Moderate | 2 | 2 | 1
ENVIRON. CONDITIONS
| Temperature and Humidity | Low | 1 | 1 | 1
FEG
| Vacuum | High | 3 | 3 | 1
| States | High | 3 | 3 | 1
| Extraction V. ramp | High | 3 | 3 | 1
| Key parameters | High | 3 | 3 | 1
| HT | High | 3 | 3 | 1
OPERATION
| Open/Close V7 | High | 3 | 3 | 1
| Apertures (C2/OA) | Moderate | 2 | 2 | 1
| Modes | Low | 1 | 1 | 1
| CCD and DM conditions/parameters | Moderate | 2 | 2 | 1
Alignments and Settings
| Alignment and mode save and recall | Moderate | 2 | 2 | 1
| Z-height adjustment | Moderate | 2 | 2 | 1
| C2 centering | Moderate | 2 | 2 | 1
| Condenser lens astigmatism | Moderate | 2 | 2 | 1
| OA centering | Moderate | 2 | 2 | 1
| Beam tilt | Moderate | 2 | 2 | 1
| Objective lens astigmatism | Moderate | 2 | 2 | 1
DOS and DON'TS
| If vacuum not good? | High | 3 | 3 | 1
| If FEG off? | High | 3 | 3 | 1
| If FEG or Vac error? | High | 3 | 3 | 1
| If CCD image does not make sense? | High | 3 | 3 | 1
| If alignment looks bad? | Moderate | 2 | 2 | 1
| If room conditions not OK? | Low | 1 | 1 | 1
| If grid is lost in EM or in transit to EM or in loading station? | High | 3 | 3 | 1
| LN2 dispense | Moderate | 2 | 2 | 1
|  | Sum: |  |  | 34
|  | Items: |  |  | 34
|  | Grade: |  |  | 1
CRITICAL ERRORS RESULTING IN IMMEDIATE FAILURE
| Vacuum crash | Critical | 4 | 4 | 1
| Improper holder manipulation, including touching the column side of it with bare hands | Critical | 4 | 4 | 1
| Improper handling of the goniometer when inserting or retreiving sample holder, including wrong sense of rotation or use of force | Critical | 4 | 4 | 1
| Improper handling of any parts operated manually | Critical | 4 | 4 | 1
| Detector damage or risk thereof | Critical | 4 | 4 | 1
| Forget to close V7 when done | Critical | 4 | 4 | 1
Overall: